|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  |  | Quote No: |  |

We only need the **?** filled in

Send back to: sales@sumpsandpumpsdirect.co.uk

|  |
| --- |
| **Booster Set Enquiry Form** |

|  |  |  |  |
| --- | --- | --- | --- |
| Customer: | ? | Date: |  |
| Contact: |  | Email: |  ? |
| Tel: | ? | Fax: |   |
| Project Reference: |  |

|  |  |  |  |
| --- | --- | --- | --- |
| Total Flow: |  | Pressure Req’d: |   |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Electrical Supply: |  | 230v~1ph~50hz | ? |  | 400v~3ph~50hz | ? |

|  |  |
| --- | --- |
| Alternative to: |  |

|  |  |  |
| --- | --- | --- |
| **OUTLETS / LOADING UNITS** |  | **PRESSURE** |
| Outlet | L.U. | Qty | Total L.U. |  | Description | No. | Per Storey | Total |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Bath | 10 | ?  |   |  | Static Head (old) |  |   |  |
| Shower | 3 |  ? |   |  | Static Head (new) |  | 0.3 bar |   |
| WHB | 1.5 |  ? |   |  | Pipe Losses (Nom) | - | - | 0.5 bar |
| WC | 2.0 |  ? |   |  | Pressure at Outlet | - | - | 2.0 bar |
| Sink | 3.0 | ?  |   |  |  |  |  |  |
| Washing Machine | 2.0 |  ? |   |  | Total Pressure |  |  |  |
| Dishwasher | 2.0 |  ? |   |
| Num Floors | 18.5 | ? |  |
|  |  |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **Total Loading Units**  |  |   |   |

|  |  |  |  |
| --- | --- | --- | --- |
| **Flow rate (litres/sec)** |  |   |   |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| A | Set Model: |  | Price: |  |